| X-Line Apollo Single CCT 30W/m 2700K/3000K/4000K/6000K 24V CR80 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Features · 2700/3000/4000/5000/6000K, CRI80 · High power 30W/m, high brightness 6000lm/m · High efficiency 200lm/W · 48VDC, high power efficiency · For office ,industrial, architectural lighting · Lifespan 40000 hrs, · 5 years warranty |  |  |  |  |
| Technical data |  |  |  |  |
| Electrical specifications Part No.. Wattage (W/m); 30. DC output voltage (V); 48. Frequency (Hz); -. Dimmable; Yes. Max. no. of lamps on B16A circuit breaker; -. Max. no. of lamps on C16A circuit breaker; -. Photometric specifications. Colour temperature (CCT); 2700K 3000K 4000K 6000K. Luminous efficiency (lm/W ); 100(4000K). Standard deviation of colour; 3 SDCM. UGR; -. Mechanical specifications. Housing material; FPC+Aluminum profile. Optical cover/ lens material; -. Width/ diameter (mm); 18.3. Cut length (mm). Lifespan. Number of switching cycles; 100,000. L80/B10 service life at 25°C; 25,000 hrs. Warranty period; 5 Years. Application parameters. Working temperature range -20~+60℃ | EAN; -. AC input voltage (V); -. Power factor; -. Total harmonic distortion (THD); -. Flicker-free; -. Max. no. of lamps on C10A circuit breaker; -. CRI (Ra); 80. Luminous flux (lm/m); 5600 5800 6000 5800. Beam angle (°); 120°. Housing Colour; White/Black. Length/ diameter (mm); 300/600/1000/1200. Height (mm); 14. Product weight. L70/B50 service life at 25°C; 40,000 hrs. L90/B10 service life at 25°C; 20,000 hrs. Location of installation; -. Protection type; IP20. Storage temperature range -20~+70℃ |
| Additional product specifications |  |
| Type of installation | insertion and fixed |

Photometric Information

Application

Caution

Power off before replacement

Do not be in violation of any fire regulations when using

Consult qualified electricians for technical support

If the supply cord is damaged, it shall be exclusively replaced by the manufacturer or his service agent or similar qualified person in order to avoid a hazard

Dimensions

Accessories / Parts (Optional):

Aluminum slot Clamp                                                   Plastic Cover                                          Apollo Flex Strip